Team Building and Team Training
p-12C @ 230 MeV
Izabela Ciepal
07. 08. 2017
17-1

---
Detection system geometry:
17-3

---
 - Energy calibration was performed for protons
 - Number of files analyzed:
with 12C target : 105 (#7062-7167) – about 427 minutes of measurement
with no target: 21 (#7334-7349, 7389-7396)
– about 300 minutes of measurement
scaling factor for background component: 427/300 ~ 1.42

---
36 deg - Left
     signal
background
after background
subtraction
~ 11.2
background scaled
to measurement time: x1.42
background - no target

---
36 deg - Left
final spectrum-

---
36 deg - Right
     signal
background
~ 8.4
background scaled
to measurement time: x1.42
background - no target

---
36 deg - Right
final spectrum-